## Slide 1: Existing COTS Hardware
Teensy 3.6
Dev Board
Teensy
Audio Board
Teensy
Audio Stack
Creare seeks to replace the Teensy Audio Board
with a new Creare Audio Board

## Slide 2
Teensy 3.6: 61Lx18W mm
RN42: 25.8L x 13.4W mm
4-40 Clearance Hole (Free Fit)
Codec: 5.15 x 5.15 mm
Battery Connector. 9mm W
Hole
D5
J1
J2
J6
D7
D6
D10
IN3
IN2
Line-O
+
G
L
R
L
R
L
R
OFF
ON
J1
J5
R19
U2
U23
U24
D11
Creare
Audio Board
With Teensy 3.6
Mounted
~9.5 cm
~3.7cm
U2 (Codec) on Bottom to shield from Teensy 3.6?
Keep leads to J2 short!
Hole
D5
J1
J2
J6
D7
D6
D10
IN3
IN2
Line-O
+
G
L
R
L
R
L
R
OFF
ON
J1
J5
R19
U2
U23
U24
D11
Should we consider SMT versions of these headers so that the RN42 module can be slid underneath (on the back side of the PCB)?
Power Supplies can go anywhere
4-40 Clearance Holes (Free Fit)
This RN42 Bluetooth module is too big to fit between the headers, so I put it here…sticking out. I’m not a big fan of this location because it makes the PCB much longer. But what other location is better?
Creare Audio Board (“Tympan A”)
Notional Layout

## Slide 3
Creare Audio Board (“Tympan 1”)
Notional Layout
Rev 2016-12-05 1pm
Teensy 3.6: 61Lx18W mm
RN42: 25.8L x 13.4W mm
4-40 Clearance Hole (Free Fit)
Codec: 5.15 x 5.15 mm
Battery Connector. 9mm W
Hole
J1
J2
J6
D7
D6
IN3
Line-O
+
G
L
R
L
R
OFF
ON
J5
R19
U2
U23
U24
D5
D10
D11
Mic
R
Mic
L
TYMPAN 1
Creare
Audio Board
With Teensy 3.6
Mounted
~9.75 cm
~3.7cm
U2 (Codec)
Keep leads to J2 short!
Power Supplies can go anywhere
4-40 Clearance Holes (Free Fit)
Hole
J1
J2
J6
D7
D6
IN3
Line-O
+
G
L
R
L
R
OFF
ON
J5
R19
U2
U23
U24
D5
D10
D11
Mic
R
Mic
L
TYMPAN 1
Mics
Right-Left

## Slide 4
Creare Audio Board (“Tympan 1”)
Notional Layout
Rev 2016-12-05 3pm
Teensy 3.6: 61Lx18W mm
RN42: 25.8L x 13.4W mm
4-40 Clearance Hole (Free Fit)
Codec: 5.15 x 5.15 mm
Battery Connector. 9mm W
Hole
J1
J2
D7
D6
IN3
Line-O
+
G
L
R
L
R
OFF
ON
J5
R19
U2
U23
U24
D5
D10
D11
Mic
R
Mic
L
TYMPAN 1
J6
Hole
J1
J2
D7
D6
IN3
Line-O
+
G
L
R
L
R
OFF
ON
J5
R19
U2
U23
U24
D5
D10
D11
Mic
R
Mic
L
TYMPAN 1
J6
Creare
Audio Board
With Teensy 3.6
Mounted
~9.75 cm
~3.7cm
U2 (Codec)
Keep leads to J2 short!
Power Supplies can go anywhere
4-40 Clearance Holes (Free Fit)
Mics
Right-Left
Cut-away to allow wiring from J6 to go to the battery underneath

## Slide 5
Creare Audio Board (“Tympan 1”)
Notional Layout
Rev 2016-12-06 12:50pm
Teensy 3.6: 61Lx18W mm
RN42: 25.8L x 13.4W mm
4-40 Clearance Hole (Free Fit)
Codec: 5.15 x 5.15 mm
Battery Connector. 9mm W
Hole
J10
J5
D1
D2
IN3
Line-O
+
G
L
R
L
R
OFF
ON
J6
R6
Pot
U4
U2
U3
D3
D5
D4
Mic
R
Mic
L
TYMPAN 1
J4
Hole
J10
J5
D1
D2
IN3
Line-O
+
G
L
R
L
R
OFF
ON
J6
R6
Pot
U4
U2
U3
D3
D5
D4
Mic
R
Mic
L
TYMPAN 1
J4
Creare
Audio Board
With Teensy 3.6
Mounted
~9.75 cm
~3.7cm
U4 (Codec)
Move as desired, but keep leads to J5 short!
Power Supplies can go anywhere
4-40 Clearance Holes (Free Fit)
Mic1: “Left” Mic
PCB Cut-away to allow wiring from J6 to go to the battery underneath
Mic2:
“Right” Mic
Battery
Connector
SW1:
Power
Note: The battery will go underneath, so please keep components on the bottom to a minimum to prevent interfering with the battery.

## Slide 6: Extra Art

## Slide 7
Headphone Jack
Outer Env:
L = 2.5+4.4+12.2=19.1 mm
W = 9.0 mm